## Page1
28.發電裝置容量統計表 | [8 empty] | 28.Installed Capacity
單位：千瓩 | [16 empty] | Unit : MW
項 目 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國 | 民 國
| 94年 | 95年 | 96年 | 97年 | 98年 | 99年 | 100年 | 101年 | 102年 | 103年 | 104年 | 105年 | 106年 | 107年 | 108年 | 109年 | Item
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
台電 | 28893.9 | 30093.7 | 30792.5 | 31263.5 | 32311 | 32944.2 | 32758.4 | 32205 | 32218.2 | 31651.22 | 31669.14 | 32466.84 | 31750.04 | 33414.84 | 35385.98 | 35455.75 | Taiwan Power Company
水力 | 4501 | 4501 | 4501 | 4501 | 4500 | 4540.5 | 4603.8 | 4644.4 | 4644.4 | 4644.4 | 4652.4 | 4652.4 | 4652.4 | 4652.4 | 4652.4 | 4652.4 | Hydro
慣常1 | 1899 | 1899 | 1899 | 1899 | 1898 | 1938.5 | 2001.8 | 2042.4 | 2042.4 | 2042.4 | 2050.4 | 2050.4 | 2050.4 | 2050.4 | 2050.4 | 2050.4 | Conventional1
抽蓄 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | Pumped Storage
火力 | 19231.1 | 20400.9 | 21015.7 | 21486.7 | 22487.2 | 23010 | 22717.7 | 22119.7 | 22132.5 | 21560.5 | 21560.5 | 22358.2 | 21641.4 | 23933 | 26425.6 | 26341.6 | Thermal
燃煤 | 8650 | 9200 | 8800 | 8800 | 8800 | 8800 | 8800 | 8200 | 8200 | 7600 | 7600 | 8400 | 9200 | 10000 | 11600 | 11600 | Coal-Fired
燃油 | 3608.7 | 3609.7 | 3609.7 | 3609.7 | 3610.2 | 3625.6 | 3324.6 | 3326.6 | 3325.4 | 3325.4 | 3325.4 | 3323.1 | 2570.1 | 2569.1 | 2569.1 | 1592.5 | Oil-Fired
燃氣 | 6972.4 | 7591.2 | 8606 | 9077 | 10077 | 10584.4 | 10593.1 | 10593.1 | 10607.1 | 10635.1 | 10635.1 | 10635.1 | 9871.3 | 11363.9 | 12256.5 | 13149.1 | LNG-Fired
核能 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 4508 | 3872 | 3872 | Nuclear
地熱 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Geothermal
太陽光電 | 0 | 0 | 0 | 0 | 0 | 0.5 | 6.1 | 10.1 | 10.5 | 15.52 | 18.24 | 18.24 | 18.24 | 18.24 | 123.58 | 277.35 | Solar
風力 | 17.8 | 47.8 | 131.8 | 131.8 | 179.8 | 249.2 | 286.8 | 286.8 | 286.8 | 286.8 | 294 | 294 | 294 | 303.2 | 312.4 | 312.4 | Wind
民營電廠 | 7230.73 | 7280.53 | 7292.05 | 7373.154 | 7939.054 | 7971.254 | 7980.454 | 8028.864 | 8081.294 | 8110.532 | 8119.2 | 8162.849 | 8196.363 | 8729.61 | 8895.581 | 9110.9234 | IPPs
慣常水力 | 10.73 | 10.73 | 22.25 | 38.954 | 38.954 | 38.954 | 38.954 | 39.064 | 39.064 | 39.064 | 39.064 | 39.064 | 39.064 | 41.26 | 42.26 | 42.26 | Hydro
火力 | 7220 | 7220 | 7220 | 7220 | 7710 | 7710 | 7710 | 7710 | 7710 | 7710 | 7710 | 7710 | 7710 | 8216.3 | 8216.3 | 8216.3 | Thermal
太陽光電 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.23 | 15.468 | 21.836 | 30.085 | 53.299 | 66.55 | 109.221 | 317.3634 | Solar
風力 | 0 | 49.8 | 49.8 | 114.2 | 190.1 | 222.3 | 231.5 | 279.8 | 323 | 346 | 348.3 | 383.7 | 394 | 405.5 | 527.8 | 535 | Wind
自用發電設備 | 7012.747 | 7646.236 | 7764.005 | 7687.985 | 7670.915 | 7928.06 | 8014.343 | 8145.412 | 8499.519 | 8651.274 | 8877.344 | 8949.899 | 9339.715 | 10521.5818 | 11857.1456 | 13171.6416 | Cogeneration
火力 | 6332.303 | 6942.833 | 7047.933 | 6968.773 | 6947.773 | 7180.373 | 7180.373 | 7209.373 | 7394.453 | 7331.453 | 7319.633 | 7039.633 | 6930.016 | 7151.1726 | 7224.1826 | 7224.1826 | Thermal
慣常水力 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73 | Hydro
地熱 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0.3 | 0.3 | Geothermal
太陽光電 | 1.04 | 1.41 | 2.44 | 5.58 | 9.51 | 34.055 | 123.812 | 221.181 | 390.208 | 604.963 | 844.175 | 1196.73 | 1696.163 | 2653.329 | 3916.738 | 5222.492 | Solar
風力 | 6.14 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.4912 | 4.999 | 6.305 | Wind
生質能 | 89.502 | 88.141 | 86.78 | 86.78 | 86.78 | 86.78 | 81.336 | 81.336 | 81.336 | 81.336 | 80.014 | 80.014 | 80.014 | 80.629 | 78.996 | 85.702 | Biomass
廢棄物 | 583.762 | 609.462 | 622.462 | 622.462 | 622.462 | 622.462 | 624.432 | 629.132 | 629.132 | 629.132 | 629.132 | 629.132 | 629.132 | 631.93 | 631.93 | 631.93 | Waste
合計2 | 43137.377 | 45020.466 | 45848.555 | 46324.639 | 47920.969 | 48843.514 | 48753.197 | 48379.276 | 48799.013 | 48413.026 | 48665.684 | 49579.588 | 49286.118 | 52666.0318 | 56138.7066 | 57738.315 | Total2
抽蓄水力 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | 2602 | Pumped Storage
核能 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 5144 | 4508 | 3872 | 3872 | Nuclear
火力 | 32783.403 | 34563.733 | 35283.633 | 35675.473 | 37144.973 | 37900.373 | 37608.073 | 37039.073 | 37236.953 | 36601.953 | 36590.133 | 37107.833 | 36281.416 | 39300.4726 | 41866.0826 | 41782.0826 | Thermal
再生能源3 | 2607.974 | 2710.733 | 2818.922 | 2903.166 | 3029.996 | 3197.141 | 3399.124 | 3594.203 | 3816.06 | 4065.073 | 4329.551 | 4725.755 | 5258.702 | 6255.5592 | 7798.624 | 9482.2324 | Renewable Energy3
註：1.台電慣常水力含自設及託營機組。 2.本表合計為全國總裝置容量，包含民營與汽電共生自用發電設備裝置容量，與台電系統裝置容量不同。 3.本表之再生能源為地熱、太陽光電、風力、生質能及廢棄物。 | 102年: Note: 1.Conventional hydro-power of Taiwan Power Company includes self-owned and commissioned hydro power units. 2.The total installed capacity is the summation of installed capacity of Taiwan Power Company, IPPs and cogeneration generators, which include non-utility power generatiors. It is different from the installed capacity of Taipower grid system released by the Taiwan Power Company. 3.Renewable energy in this table refers to geothermal, solar, wind, biomass and waste.